## Sheet1
| Name | Address | City | Postal_Cod | DGS_Acres | Use_Type | Latitude | Longitude | County_City | Managing_Agency | Selected? | Service Territory | Annual Solar Hours | GIS Acres | Notes | kWh Annual | Open Area Acres | KW Array to Meet Demand | MW Convert | Number of Solar Panels
P0021120 | VSP Public Safety Driving Track Facility | 1875 Ridge Road | Blackstone | 23824 | 680.68 | Training Center | 37.0409 | -77.9775 | Nottoway County - 135 | State Police, Dept of (VSP) -156 | Huge Parcel, Army Training area | Other | 5.05 | 22356.6
P0000077 | VSP Admin HQ Chesterfield Co | 7700 Midlothian Tpke | Richmond | 23235-5226 | 80.9 | Office | 37.5005 | -77.5394 | Chesterfield County - 041 | State Police, Dept of (VSP) -156 | Not enough open area |  |  | 64.95 | VDOT Bon Air site Adjacent
P0000079 | VSP Division 2 Area 15 HQ Culpeper Co | 15148 State Police Rd | Culpeper | 22701 | 22.418 | Office | 38.4944 | -77.9264 | Culpeper County - 047 | State Police, Dept of (VSP) -156 | Property sheet completed | Dominion | 4.85 | 23.9 | Tower on site? | 668177 | 9.06 | 503.2638 | 0.50326 | 2013.055
P0000070 | VSP Div 3 Area 21 HQ Appomattox Co | Rt 613 W | Appomattox | 24522 | 15.835 | Office | 37.3618 | -78.8688 | Appomattox County - 011 | State Police, Dept of (VSP) -156 | Not enough open area |  |  | 11.42
P0000105 | VSP Div 4 Area 26 Headquarters Wytheville | 1186 East Lee Hwy | Wytheville | 24382 | 14.182 | Office | 36.9387 | -80.9975 | Wythe County - 197 | State Police, Dept of (VSP) -156 | Not enough open area | ApCO | 4.88 | 14.35 | Parcel too small, VDOT down the street
P0000107 | VSP Division 7 HDQ Fairfax Co | 9801 Braddock Road | Fairfax | 22150-1827 | 6.7588 | Office | 38.8249 | -77.2834 | Fairfax County - 059 | State Police, Dept of (VSP) -156 | Not enough open area
P0000109 | VSP Div 5 Firing Range Isle of Wright Co | Rt 619 | Walters | 23481 | 5 | Other | 36.7664 | -76.8618 | Isle of Wight County - 093 | State Police, Dept of (VSP) -156 | Not enough open area
P0000116 | VSP Area 7 HQ Petersburg | 25650 Simpson Rd | Petersburg | 23803 | 4.558 | Office | 37.1978 | -77.4596 | Dinwiddie County - 053 | State Police, Dept of (VSP) -156 | Not enough open area
P0000108 | VSP Div 1 HQ Henrico Co | 9300 Brook Road | Glen Allen | 22501 | 4.33 | Office | 37.6535 | -77.4606 | Henrico County - 087 | State Police, Dept of (VSP) -156 | Not enough open area
P0000102 | VSP Radio Tower Sussex Co | Rt 460 | Waverly | 23890 | 4 | Tower | 37.0988 | -77.1865 | Sussex County - 183 | State Police, Dept of (VSP) -156 | Not enough open area
P0000095 | VSP Area 2 HQ Richmond Co | 16835 Historyland Highway | Warsaw | 22572-9803 | 4 | Office | 37.9805 | -76.7363 | Richmond County - 159 | State Police, Dept of (VSP) -156 | Not enough open area
P0022408 | VSP Area 20/63 Amherst | 515 S Main St | Amherst | 24521 | 3.436 | Office | 37.5761 | -79.0562 | Amherst County - 009 | State Police, Dept of (VSP) -156 | Not enough open area
P0000076 | VSP Div 5 HQ Chesapeake | 1557 S Military Hwy | Chesapeake | 23320-2607 | 3.05 | Office | 36.7961 | -76.2382 | Chesapeake city - 550 | State Police, Dept of (VSP) -156 | Not enough open area
P0026154 | VSP Castlewood BCI Site Russell County | 355 Clydesway Road | Lebanon | 24266 | 2.463 | Office | 36.8966 | -82.1156 | Russell County - 167 | State Police, Dept of (VSP) -156 | Not enough open area
P0000096 | VSP Division 6 HQ Roanoke Co | 3775 West Main St | Salem | 24153 | 2.351 | Office | 37.2775 | -80.1281 | Roanoke County - 161 | State Police, Dept of (VSP) -156 | Not enough open area
P0000113 | VSP Area 30 HQ Wise Co | 1207 Norton Rd | Wise | 24293 | 2.051 | Office | 36.9682 | -82.5925 | Wise County - 195 | State Police, Dept of (VSP) -156 | Not enough open area
P0000112 | VSP Area 37 HQ Williamsburg | 1200 Airport Rd | Williamsburg | 23185 | 2 | Office | 37.3188 | -76.6957 | York County - 199 | State Police, Dept of (VSP) -156 | Not enough open area
P0000097 | VSP Area 39 HQ Rockbridge Co | 3861 S Lee Hwy | Natural Bridge | 22801 | 1.62 | Office | 37.6869 | -79.4908 | Rockbridge County - 163 | State Police, Dept of (VSP) -156 | Not enough open area
P0000069 | VSP Area 31 HQ Accomack Co | 27384 Lankford Hwy | Melfa | 23410 | 1.45 | Office | 37.6652 | -75.7328 | Accomack County - 001 | State Police, Dept of (VSP) -156 | Not enough open area
P0000103 | VSP Area 28 HQ Tazewell Co | 3672 Steelsburg Hwy. | Cedar Bluff | 24609 | 1.42 | Office | 37.0543 | -81.7694 | Tazewell County - 185 | State Police, Dept of (VSP) -156 | Not enough open area
P0000093 | VSP Area 24 HDQ Pulaski Co | 5290 Bagging Plant Rd | Dublin | 24084 | 1.37 | Office | 37.0949 | -80.6884 | Pulaski County - 155 | State Police, Dept of (VSP) -156 | Not enough open area
P0000117 | VSP Area 6 HQ Powhatan Co | 1765 Anderson Highway | Powhatan | 23139 | 1.2238 | Office | 37.5106 | -77.7675 | Powhatan County - 145 | State Police, Dept of (VSP) -156 | Not enough open area
P0000073 | VSP Area 41 HQ Bedford Co | 874 Blue Ridge Ave | Bedford | 24523 | 1.216 | Office | 37.3381 | -79.5498 | Bedford County - 019 | State Police, Dept of (VSP) -156 | Not enough open area
P0000080 | VSP Repeater Tower Cumberland Co | Rt 455 W | Cumberland | 23040 | 1.16 | Tower | 37.466 | -78.2796 | Cumberland County - 049 | State Police, Dept of (VSP) -156 | Not enough open area
P0000089 | VSP Area 4 HQ Louisa Co | 3707 Cross County Rd | Mineral | 22117 | 1.073 | Office | 37.8083 | -77.864 | Louisa County - 109 | State Police, Dept of (VSP) -156 | Not enough open area
P0000111 | VSP Area 36 HQ Sussex Co | 438 E Main St | Waverley | 23890-3237 | 1.06 | Office | 37.0393 | -77.0776 | Sussex County - 183 | State Police, Dept of (VSP) -156 | Not enough open area
P0000086 | VSP Repeater Tower Halifax Co | Rt 501 | Halifax | 24588 | 1.032 | Tower | 38.8113 | -78.9536 | Halifax County - 083 | State Police, Dept of (VSP) -156 | Not enough open area
P0000092 | VSP Area 11 HDQ Prince William Co | 14420 Independent Hill Dr | Manassas | 20112-3727 | 1.0101 | Office | 38.6415 | -77.4448 | Prince William County - 153 | State Police, Dept of (VSP) -156 | Not enough open area
P0022233 | VSP Radio Tower Northumberland Co | Route 360 | Burgess | 22422 | 1 | Tower | 37.8698 | -76.1381 | Northumberland County - 133 | State Police, Dept of (VSP) -156 | Not enough open area
P0000072 | VSP Area 17 Augusta Co | Rt 1426 | Staunton | 24401 | 1 | Office | 38.1315 | -79.0382 | Augusta County - 015 | State Police, Dept of (VSP) -156 | Not enough open area
P0000075 | VSP Area 19 HQ Buckingham Co | Rt 60 W | Buckingham | 23921 | 1 | Office | 37.5306 | -78.4965 | Buckingham County - 029 | State Police, Dept of (VSP) -156 | Not enough open area
P0000090 | VSP Area 22 HDQ South Hill | 1233 N Mecklenburg Ave | South Hill | 23970 | 1 | Office | 36.7432 | -78.1149 | Mecklenburg County - 117 | State Police, Dept of (VSP) -156 | Not enough open area
P0000114 | VSP Area 25 HQ Galax | 1175 Glendale Rd | Galax | 24333-2505 | 1 | Office | 36.6945 | -80.8835 | Galax city - 640 | State Police, Dept of (VSP) -156 | Not enough open area
P0000099 | VSP Area 34 HQ Southampton Co | 30010 Camp Pkwy | Courtland | 23837 | 1 | Office | 36.6848 | -76.9986 | Southampton County - 175 | State Police, Dept of (VSP) -156 | Not enough open area
P0000119 | VSP Area 38 HQ Covington | 1002 Commerce Center Dr. | Covington | 24426 | 1 | Office | 37.794 | -79.8908 | Alleghany County - 005 | State Police, Dept of (VSP) -156 | Not enough open area
P0000110 | VSP Area 23 HQ Halifax Co | 355 N Main St | Halifax | 24558-3245 | 0.9211 | Office | 36.7714 | -78.9229 | Halifax County - 083 | State Police, Dept of (VSP) -156 | Not enough open area
P0000088 | VSP Area 3 HQ King William Co | Rt 30 | West Point | 23181 | 0.918 | Office | 37.5835 | -76.8502 | King William County - 101 | State Police, Dept of (VSP) -156 | Not enough open area
P0000085 | VSP Area 35 HQ Greensville Co | 2361 Sussex Drive | Emporia | 23847 | 0.86 | Office | 36.7411 | -77.5078 | Greensville County - 081 | State Police, Dept of (VSP) -156 | Not enough open area
P0000118 | VSP Area 43 HQ Pittsylvania | 19255 US Hwy 29 | Chatham | 24531 | 0.86 | Office | 36.8586 | -79.3996 | Pittsylvania County - 143 | State Police, Dept of (VSP) -156 | Not enough open area
P0000078 | VSP BCI Task Force Clifton Forge | Rt 60 W | Clifton Forge | 24422 | 0.86 | Office | 37.8178 | -79.8044 | Alleghany County - 005 | State Police, Dept of (VSP) -156 | Not enough open area
P0000101 | VSP Area 65 Safety Office Suffolk | 2900 Pruden Blvd | Suffolk | 23434 | 0.841 | Office | 36.7708 | -76.6083 | Suffolk city - 800 | State Police, Dept of (VSP) -156 | Not enough open area
P0000087 | VSP Area 42 HQ Henry Co | 55 Fisher Farm Rd | Martinsville | 24112 | 0.721 | Office | 36.6367 | -79.8594 | Henry County - 089 | State Police, Dept of (VSP) -156 | Not enough open area
P0000115 | VSP Area 40 & 65 Safety Div Salem | 99 Keesling Ave | Salem | 24153 | 0.689 | Office | 37.2826 | -80.1086 | Salem city - 775 | State Police, Dept of (VSP) -156 | Not enough open area
P0024263 | VSP Area 12 Fauquier Co. | 455 E Shirley Ave | Warrenton | 20188 | 0.6202 | Office | 38.6997 | -77.7885 | Fauquier County - 061 | State Police, Dept of (VSP) -156 | Not enough open area
P0000081 | VSP Dinwiddie Co. Communication Site | 8312 Halifax Rd. | Petersburg | 23805 | 0.516 | Tower | 37.154 | -77.4148 | Dinwiddie County - 053 | State Police, Dept of (VSP) -156 | Not enough open area
P0000106 | VSP Gordonsville Repeater Station Orange Co | Rt 15 | Gordonsville | 22942 | 0.5 | Tower | 38.1915 | -78.1474 | Orange County - 137 | State Police, Dept of (VSP) -156 | Not enough open area
P0000100 | VSP Area 5 HDQ Fredericksburg | 3804 Loren Drive | Fredericksburg | 22401 | 0.4913 | Office | 38.2664 | -77.4955 | Spotsylvania County - 177 | State Police, Dept of (VSP) -156 | Not enough open area
P0000091 | VSP Area 14 HDQ Luray | 150 Leaksville Rd | Luray | 22835 | 0.4643 | Office | 38.6605 | -78.4814 | Page County - 139 | State Police, Dept of (VSP) -156 | Not enough open area
P0000098 | VSP Area 16 HQ Harrisonburg | 4010 S Main St | Harrisonburg | 22801 | 0.46 | Office | 38.396 | -78.9146 | Rockingham County - 165 | State Police, Dept of (VSP) -156 | Not enough open area
P0000104 | VSP Area 27 Headquarters Bristol | 868 Bonham Rd | Bristol | 24201 | 0.4591 | Office | 36.6185 | -82.1272 | Washington County - 191 | State Police, Dept of (VSP) -156 | Not enough open area
P0000084 | VSP Area 13 HQ frederick Co | 3680 Valley Pike | Winchester | 22602-2453 | 0.459 | Office | 39.1255 | -78.1946 | Frederick County - 069 | State Police, Dept of (VSP) -156 | Not enough open area
P0012117 | VSP Area 22 HQ Office Mecklenburg County | 727 Halifax St | South Hill | 23970 | 0.451 | Office | 36.7432 | -78.1149 | Mecklenburg County - 117 | State Police, Dept of (VSP) -156 | Not enough open area
P0000094 | VSP Area 61 Safety Office Richmond City | 3601 Iron Bridge Rd | Richmond | 23234-2939 | 0.3886 | Office | 37.4673 | -77.4877 | Richmond city - 760 | State Police, Dept of (VSP) -156 | Not enough open area
P0000082 | VSP Area 72 BCI Office Fauquier Co | 224 W. Shirley Avenue | Warrenton | 22186 | 0.3642 | Office | 38.7126 | -77.8059 | Fauquier County - 061 | State Police, Dept of (VSP) -156 | Not enough open area
P0012005 | VSP Div 4 Dispatch Area 26 Office Wytheville | 695 E Main St | Wytheville | 24382 | 0.361 | Office | 36.9536 | -81.0781 | Wythe County - 197 | State Police, Dept of (VSP) -156 | Not enough open area
P0000121 | VSP Area 29 HQ Buchanan Co | Rt 83 | Vansant | 24614 | 0.227 | Office | 37.2281 | -82.0993 | Buchanan County - 027 | State Police, Dept of (VSP) -156 | Not enough open area
P0000120 | VSP Hampton Tower Site Hampton City | Orcutt and 81st Street | Hampton | 23069 | 0.11 | Tower | 36.7784 | -76.4389 | Hampton city - 650 | State Police, Dept of (VSP) -156 | Not enough open area
P0022141 | VSP Williamsburg Substation Property York County | Fenton Mill Rd. | Williamsburg | 23118 | 0.066 | Tower | 37.3555 | -76.711 | York County - 199 | State Police, Dept of (VSP) -156 | Not enough open area
P0000071 | VSP Bear Den Tower Augusta Co. | 3861 Lee Hwy | Glasgow | 22980 | 0.0585 | Tower | 38.0666 | -78.7987 | Augusta County - 015 | State Police, Dept of (VSP) -156 | Not enough open area
P0000083 | VSP Pinnacle Ridge Repeater Frederick Co | North Mountain | Kernstown | 22602 | 0.0569 | Tower | 39.1839 | -78.3873 | Frederick County - 069 | State Police, Dept of (VSP) -156 | Not enough open area